## CP
[7 empty] | Entry | Auto | Auto | Item
ROUTINE VERTICAL
PILE LOAD TEST
Name of the work:
0 | [6 empty] | "Upgradation of District Hospital
Construction of Super Speciality Hospital block | [6 empty] | Construction of Super Speciality Hospital block
And allied buildings with at Tezpur Medical | [6 empty] | And allied buildings with at Tezpur Medical
College, Jorhat Medical Diphu Medical College | [6 empty] | College, Jorhat Medical Diphu Medical College
campus including civil, MEP works External | [6 empty] | campus including civil, MEP works External
Development works. Package No- 1-1B | [6 empty] | Development works. Package No- 1-1B
Location:
Tezpur Super Speciality Hospital, TMCH | [6 empty] | Tezpur Super Speciality Hospital, TMCH
EMPLOYER:
AHIDMS
Nayantara super market complex, Guwahati
ENGINEER
Executive Engineer, PWD
Sonitpur, Dist. Territorial Building division, tezpur
PMC:
RITES LTD-MUKESH & ASSOCIATES- (JV) | [6 empty] | RITES LTD-MUKESH & ASSOCIATES- (JV)
Nayantara super market complex, Guwahati
CONTRACTOR:
NCC Limited | [6 empty] | NCC Limited
Eastern regional office, Kolkata
PREPARED BY :
NABL ACCREDITED LABORATORY (ISO/IEC 17025:2017 Certificate No: TC-17241)
Northeast Research Laboratory & Testing Private Limited
Office: Room No.50, G.M.C. Market Complex, Chandmari, Guwahati-781003
Laboratory: House No 4, Salbari- Noonmati Road, Noonmati, Guwahati, Assam 781020
| Report/ Certificate No.: |  | NERLT120626N1 |  | Date of report issue: | 2026-06-12

## C&I
NORTHEAST RESEARCH LABORATORY &
TESTING PRIVATE LIMITED
M/N : (+91) 9577782943, EMAIL : OFFICE@NERLT.COM
Office: Room No.50, G.M.C. Market Complex, Chandmari, Guwahati-781003
Lab: House No 4, Salbari- Noonmati Road, Noonmati, Guwahati, Assam 781020
CONTENTS
Sl. No | Description | Page No.
1.01 | INTRODUCTION | 3
1.02 | OBJECTIVE | 3
1.03 | TESTING EQUIPMENTS | 3
1.04 | TEST PROCEDURE | 3
2.01 | TABLE 1 : BASIC DATA | 3
2.02 | INTERPRETATION | 3
2.03 | TABLE 2 A : DIAL GAUSE READING CORRESPONDING TO LOADING | 4-6
2.04 | TABLE 2 B : DIAL GAUSE READING CORRESPONDING TO UNLOADING | 7
2.05 | FIG 1 : LOAD SETTLEMENT GRAPH FROM FIELD DATA | 8
2.06 | ANALYSIS OF TEST RESULTS | 8
3 | SITE PHOTO GRAPHS | 9

## Th1
|  |  |  | Entry | Auto | Auto | Item
NORTHEAST RESEARCH LABORATORY &
TESTING PRIVATE LIMITED
M/N : (+91) 9577782943, EMAIL : OFFICE@NERLT.COM
Office: Room No.50, G.M.C. Market Complex, Chandmari, Guwahati-781003
Lab: House No 4, Salbari- Noonmati Road, Noonmati, Guwahati, Assam 781020
1.01 INTRODUCTION:
Routine Vertical Pile load test was conducted on behalf of ''NCC Limited'' for ''Construction of Super Speciality Hospital block And allied buildings with at Tezpur Medical College, Jorhat Medical Diphu Medical College campus including civil, MEP works External Development works. Package No- 1-1B''. |  |  |  | CONTRACTOR: |  | NCC Limited
|  |  |  | Name of the work: |  | Construction of Super Speciality Hospital block And allied buildings with at Tezpur Medical College, Jorhat Medical Diphu Medical College campus including civil, MEP works External Development works. Package No- 1-1B
1.02 OBJECTIVE:
The main objective of the test was to check the estimated safe load and extent of safety for the specific functional requirement of the pile at the working load and also detection of any unusual performance contrary to the findings of the initial test.
1.03 TESTING EQUIPMENTS:
Pressure gauge, Dial gauge with magnetic stand, Hydraulic Jack, Oil Pump fitted with Hose Pipe, Adopter for fixing pressure gauge, Kentledge-sand bags on ISMB Girder welded with plates on top.
1.04 TEST PROCEDURE:
Vertical load test (compression) was done as per IS 2911 (PART -IV) 2013 in which compression load was applied to the pile top (after preparation of the pile top) by means of a hydraulic jack against rolled steel joist capable of providing reaction and the settlement was recorded by four dial gauges of 0.01 mm sensitivity, each positioned at equal distance around the pile and held by datum bars resting on immovable supports at minimum distance of 3D from the edge of the pile, Where D is the pile stem diameter of circular pile. |  |  |  | four
The reaction for the jack was obtained from a kentledge placed on a plateform supported clear of the test pile. The center of gravity of the kentledge was tried to be kept on the axis of the pile and the load applied by the jack was also made co-axial with this pile.
The test was carried out by applying a series of vertical downward incremental each load of 40.00 Tons. |  |  |  | 40
2.01 : TABLE 1 : BASIC DATA:
Sl No |  | PARTICULARS | VALUES / DETAILS
1 |  | Pile No. | 240 | 240
2 |  | Diameter of pile | 750 mm | 750
3 |  | Date of Casting | 17-02-2026 | 2026-02-17
4 |  | Date of Test | 20-05-2026 | 2026-05-20
5 |  | Type of Test | Routine Vertical Pile Load Test. | Routine Vertical Pile Load Test.
6 |  | Type of Pile | Cast in Situ pile | Cast in Situ pile
7 |  | Length of Pile | 20 m | 20
8 |  | Estimated safe load | 200 Tonne | 200
9 |  | Test Load | 300 Tonne | 300
10 |  | Material of Pile | R.C.C. | R.C.C.
2.02 INTERPRETATION :
As per IS 2911 (Part 4) : 2013 Clause No 7.1.5.1:
Routine test shall be carried for a test load of at least 1.5 times the working load. 1) The Maximum settlement at the test load being not greater than 12 mm for piles diameter up to and including 600 mm and 2) The Maximum settlement at the test load being not greater than 18 mm or 2 percent of pile diameter whichever is less for piles of diameter more than 600 mm.

## T1L
NORTHEAST RESEARCH LABORATORY &
TESTING PRIVATE LIMITED
M/N : (+91) 9577782943, EMAIL : OFFICE@NERLT.COM
Office: Room No.50, G.M.C. Market Complex, Chandmari, Guwahati-781003
Lab: House No 4, Salbari- Noonmati Road, Noonmati, Guwahati, Assam 781020
2.03 : TABLE 2 A : DIAL GAUSE READING CORRESPONDING TO LOADING | [10 empty] | X1 | Y1
DATE | TIME | LOAD APPLIED | DIAL GAUGE READING |  |  |  | MEAN | Select Load for Highest mean | Selected Mean | Load Nos | Loading Mean | Load value in Tonne
(mm)
| (HOURS) | (TONNE) | DG-1 | DG-2 | DG-3 | DG-4 | (mm)
LOADING
2026-05-20 | 304:00 | 0 | 0 | 0 | 0 | 0 | 0 | L1 | 0 | L1 | 0 | 0 | 1
2026-05-20 | 304:00 | 40 | 0.41 | 0.37 | 0.4 | 0.34 | 0.38 |  |  | L2 | 0.47 | 40 | 2
2026-05-20 | 304:15 |  | 0.43 | 0.41 | 0.42 | 0.37 | 0.4075 |  |  | L3 | 0.95 | 80 | 3
2026-05-20 | 304:30 |  | 0.45 | 0.42 | 0.44 | 0.39 | 0.425 |  |  | L4 | 1.37 | 120 | 4
2026-05-20 | 304:45 |  | 0.47 | 0.44 | 0.47 | 0.41 | 0.4475 |  |  | L5 | 1.84 | 160 | 5
2026-05-20 | 305:00 |  | 0.49 | 0.46 | 0.48 | 0.43 | 0.465 | L2 | 0.47 | L6 | 2.2 | 200 | 6
2026-05-20 | 305:00 | 80 | 0.91 | 0.79 | 0.87 | 0.84 | 0.8525 |  |  | L7 | 2.93 | 240 | 7
2026-05-20 | 305:15 |  | 0.93 | 0.82 | 0.89 | 0.86 | 0.875 |  |  | L8 | 3.43 | 280 | 8
2026-05-20 | 305:30 |  | 0.96 | 0.84 | 0.93 | 0.88 | 0.9025 |  |  | L9 | 4.18 | 300 | 9
2026-05-20 | 305:45 |  | 0.97 | 0.87 | 0.96 | 0.9 | 0.925 |  |  | L10 |  |  | 10
2026-05-20 | 306:00 |  | 0.99 | 0.89 | 0.98 | 0.92 | 0.945 | L3 | 0.95 | L11 |  |  | 11
2026-05-20 | 306:00 | 120 | 1.36 | 1.22 | 1.28 | 1.25 | 1.2775 |  |  | L12 |  |  | 12
2026-05-20 | 306:15 |  | 1.38 | 1.25 | 1.3 | 1.27 | 1.3 |  |  | L13 |  |  | 13
2026-05-20 | 306:30 |  | 1.4 | 1.27 | 1.33 | 1.3 | 1.325 |  |  | L14 |  |  | 14
2026-05-20 | 306:45 |  | 1.43 | 1.3 | 1.35 | 1.32 | 1.35 |  |  | L15 |  |  | 15
2026-05-20 | 307:00 |  | 1.46 | 1.32 | 1.37 | 1.34 | 1.3725 | L4 | 1.37 | L16 |  |  | 16
2026-05-20 | 307:00 | 160 | 1.79 | 1.68 | 1.72 | 1.8 | 1.7475 |  |  | L17 |  |  | 17
2026-05-20 | 307:15 |  | 1.82 | 1.7 | 1.75 | 1.83 | 1.775 |  |  | L18 |  |  | 18
2026-05-20 | 307:30 |  | 1.85 | 1.73 | 1.78 | 1.85 | 1.8025 |  |  | L19 |  |  | 19
2026-05-20 | 307:45 |  | 1.87 | 1.75 | 1.8 | 1.87 | 1.8225 |  |  | L20 |  |  | 20
2026-05-20 | 308:00 |  | 1.89 | 1.77 | 1.82 | 1.89 | 1.8425 | L5 | 1.84 | L21 |  |  | 21
2026-05-20 | 308:00 | 200 | 2.13 | 1.99 | 2.12 | 2.11 | 2.0875 |  |  | L22 |  |  | 22
2026-05-20 | 308:15 |  | 2.15 | 2.02 | 2.13 | 2.15 | 2.1125 |  |  | L23 |  |  | 23
2026-05-20 | 308:30 |  | 2.18 | 2.05 | 2.15 | 2.18 | 2.14 |  |  | L24 |  |  | 24
2026-05-20 | 308:45 |  | 2.21 | 2.07 | 2.18 | 2.21 | 2.1675 |  |  | L25 |  |  | 25
2026-05-20 | 309:00 |  | 2.23 | 2.11 | 2.21 | 2.23 | 2.195 | L6 | 2.2 | L26 |  |  | 26
2026-05-20 | 309:00 | 240 | 2.79 | 2.81 | 2.858 | 2.83 | 2.822 |  |  | L27 |  |  | 27
2026-05-20 | 309:15 |  | 2.81 | 2.84 | 2.87 | 2.86 | 2.845 |  |  | L28 |  |  | 28
2026-05-20 | 309:30 |  | 2.84 | 2.87 | 2.89 | 2.88 | 2.87 |  |  | L29 |  |  | 29
2026-05-20 | 309:45 |  | 2.88 | 2.89 | 2.92 | 2.92 | 2.9025 |  |  | L30 |  |  | 30
2026-05-20 | 310:00 |  | 2.92 | 2.92 | 2.94 | 2.94 | 2.93 | L7 | 2.93 | L31 |  |  | 31
2026-05-20 | 310:00 | 280 | 3.33 | 3.26 | 3.36 | 3.35 | 3.325 |  |  | L32 |  |  | 32
2026-05-20 | 310:15 |  | 3.35 | 3.28 | 3.39 | 3.37 | 3.3475 |  |  | L33 |  |  | 33
2026-05-20 | 310:30 |  | 3.38 | 3.3 | 3.42 | 3.39 | 3.3725 |  |  | L34 |  |  | 34
2026-05-20 | 310:45 |  | 3.41 | 3.34 | 3.44 | 3.42 | 3.4025 |  |  | L35 |  |  | 35
2026-05-20 | 311:00 |  | 3.43 | 3.36 | 3.46 | 3.45 | 3.425 | L8 | 3.43 | L36 |  |  | 36
2026-05-20 | 311:00 | 300 | 3.73 | 3.66 | 3.68 | 3.68 | 3.6875 |  |  | L37 |  |  | 37
2026-05-20 | 311:15 |  | 3.75 | 3.68 | 3.71 | 3.7 | 3.71 |  |  | L38 |  |  | 38
2026-05-20 | 311:30 |  | 3.78 | 3.71 | 3.73 | 3.72 | 3.735 |  |  | L39 |  |  | 39
2026-05-20 | 311:45 |  | 3.81 | 3.75 | 3.76 | 3.74 | 3.765 |  |  | L40 |  |  | 40
2026-05-21 | 312:00 |  | 3.84 | 3.79 | 3.8 | 3.78 | 3.8025 |  |  | L41 |  |  | 41
2026-05-21 | 313:00 |  | 3.87 | 3.79 | 3.8 | 3.78 | 3.81 |  |  | L42
2026-05-21 | 314:00 |  | 3.91 | 3.82 | 3.84 | 3.82 | 3.8475 |  |  | L43 |  |  | 42
2026-05-21 | 315:00 |  | 3.94 | 3.85 | 3.88 | 3.86 | 3.8825 |  |  | L44 |  |  | 43
2026-05-21 | 316:00 |  | 3.96 | 3.88 | 3.9 | 3.89 | 3.9075 |  |  | L45 |  |  | 44
2026-05-21 | 317:00 |  | 3.97 | 3.9 | 3.94 | 3.91 | 3.93 |  |  | L46 |  |  | 45
2026-05-21 | 318:00 |  | 3.99 | 3.93 | 3.96 | 3.92 | 3.95 |  |  | L47 |  |  | 46
2026-05-21 | 319:00 |  | 4 | 3.95 | 3.98 | 3.96 | 3.9725 |  |  | L48 |  |  | 47
2026-05-21 | 320:00 |  | 4.01 | 3.97 | 3.99 | 3.98 | 3.9875 |  |  | L49 |  |  | 48
2026-05-21 | 321:00 |  | 4.03 | 3.99 | 4 | 4.02 | 4.01 |  |  | L50 |  |  | 49
2026-05-21 | 322:00 |  | 4.05 | 4.04 | 4.01 | 4.05 | 4.0375 | [5 empty] | 50
2026-05-21 | 323:00 |  | 4.06 | 4.05 | 4.02 | 4.07 | 4.05 | [6 empty] | 20 | 21 | 22 | 20
2026-05-21 | 324:00 |  | 4.09 | 4.08 | 4.05 | 4.1 | 4.08
2026-05-21 | 325:00 |  | 4.1 | 4.12 | 4.07 | 4.12 | 4.1025
2026-05-21 | 326:00 |  | 4.12 | 4.15 | 4.1 | 4.15 | 4.13
2026-05-21 | 327:00 |  | 4.14 | 4.18 | 4.13 | 4.17 | 4.155
2026-05-21 | 328:00 |  | 4.15 | 4.2 | 4.14 | 4.21 | 4.175
2026-05-21 | 329:00 |  | 4.15 | 4.2 | 4.15 | 4.22 | 4.18
2026-05-21 | 330:00 |  | 4.15 | 4.2 | 4.15 | 4.22 | 4.18
2026-05-21 | 331:00 |  | 4.15 | 4.2 | 4.15 | 4.22 | 4.18
2026-05-21 | 332:00 |  | 4.15 | 4.2 | 4.15 | 4.22 | 4.18
2026-05-21 | 333:00 |  | 4.15 | 4.2 | 4.15 | 4.22 | 4.18
2026-05-21 | 334:00 |  | 4.15 | 4.2 | 4.15 | 4.22 | 4.18
2026-05-21 | 335:00 |  | 4.15 | 4.2 | 4.15 | 4.22 | 4.18
2026-05-22 | 336:00 |  | 4.15 | 4.2 | 4.15 | 4.22 | 4.18 | L9 | 4.18
Formulas:
DATE = [DATE, row above]

## T1U
NORTHEAST RESEARCH LABORATORY &
TESTING PRIVATE LIMITED
M/N : (+91) 9577782943, EMAIL : OFFICE@NERLT.COM
Office: Room No.50, G.M.C. Market Complex, Chandmari, Guwahati-781003
Lab: House No 4, Salbari- Noonmati Road, Noonmati, Guwahati, Assam 781020
2.04 : TABLE 2 B : DIAL GAUSE READING CORRESPONDING TO UNLOADING | [10 empty] | X2 | Y2
DATE | TIME | LOAD APPLIED | DIAL GAUGE READING |  |  |  | MEAN | Select Load for Highest mean | Selected Mean | uNLoad Nos | Loading Mean | Load value in Tonne
(mm)
| (HOURS) | (TONNE) | DG-1 | DG-2 | DG-3 | DG-4 | (mm)
UNLOADING
2026-05-22 | 0:00 | 300 | 4.15 | 4.2 | 4.15 | 4.22 | 4.18 | U9 | 4.18 | U1 | 3.04 | 0 | 1
2026-05-22 | 0:30 | 280 | 4.04 | 4.1 | 4.02 | 4.14 | 4.075 | U8 | 4.08 | U2 | 3.13 | 40 | 2
2026-05-22 | 1:00 | 240 | 3.93 | 3.98 | 3.9 | 3.97 | 3.945 | U7 | 3.95 | U3 | 3.23 | 80 | 3
2026-05-22 | 1:30 | 200 | 3.82 | 3.77 | 3.77 | 3.7 | 3.765 | U6 | 3.77 | U4 | 3.4 | 120 | 4
2026-05-22 | 2:00 | 160 | 3.7 | 3.54 | 3.52 | 3.55 | 3.5775 | U5 | 3.58 | U5 | 3.58 | 160 | 5
2026-05-22 | 2:30 | 120 | 3.51 | 3.36 | 3.36 | 3.38 | 3.4025 | U4 | 3.4 | U6 | 3.77 | 200 | 6
2026-05-22 | 3:00 | 80 | 3.27 | 3.28 | 3.21 | 3.17 | 3.2325 | U3 | 3.23 | U7 | 3.95 | 240 | 7
2026-05-22 | 3:30 | 40 | 3.15 | 3.18 | 3.11 | 3.06 | 3.125 | U2 | 3.13 | U8 | 4.08 | 280 | 8
2026-05-22 | 4:00 | 0 | 3.09 | 3.11 | 3.01 | 2.94 | 3.0375 | U1 | 3.04 | U9 | 4.18 | 300 | 9
[10 empty] | U10 |  |  | 10
[10 empty] | U11 |  |  | 11
[10 empty] | U12 |  |  | 12
[10 empty] | U13 |  |  | 13
[10 empty] | U14 |  |  | 14
[10 empty] | U15 |  |  | 15
[10 empty] | U16 |  |  | 16
[10 empty] | U17 |  |  | 17
[10 empty] | U18 |  |  | 18
[10 empty] | U19 |  |  | 19
[10 empty] | U20 |  |  | 20
[10 empty] | U21 |  |  | 21
[10 empty] | U22 |  |  | 22
[10 empty] | U23 |  |  | 23
[10 empty] | U24 |  |  | 24
[10 empty] | U25 |  |  | 25
[10 empty] | U26 |  |  | 26
[10 empty] | U27 |  |  | 27
[10 empty] | U28 |  |  | 28
[10 empty] | U29 |  |  | 29
[10 empty] | U30 |  |  | 30
[10 empty] | U31 |  |  | 31
[10 empty] | U32 |  |  | 32
[10 empty] | U33 |  |  | 33
[10 empty] | U34 |  |  | 34
[10 empty] | U35 |  |  | 35
[10 empty] | U36 |  |  | 36
[10 empty] | U37 |  |  | 37
[10 empty] | U38 |  |  | 38
[10 empty] | U39 |  |  | 39
[10 empty] | U40 |  |  | 40
[10 empty] | U41 |  |  | 41
[10 empty] | U42 |  |  | 42
[10 empty] | U43 |  |  | 43
[10 empty] | U44 |  |  | 44
[10 empty] | U45 |  |  | 45
[10 empty] | U46 |  |  | 46
[10 empty] | U47 |  |  | 47
[10 empty] | U48 |  |  | 48
[10 empty] | U49 |  |  | 49
[10 empty] | U50 |  |  | 50
Formulas:
DATE = [DATE, row above]

## F1
NORTHEAST RESEARCH LABORATORY &
TESTING PRIVATE LIMITED
M/N : (+91) 9577782943, EMAIL : OFFICE@NERLT.COM
Office: Room No.50, G.M.C. Market Complex, Chandmari, Guwahati-781003
Lab: House No 4, Salbari- Noonmati Road, Noonmati, Guwahati, Assam 781020
[5 empty] | X1 | Y1 | X2 | Y2
2.05 : FIG 1 : LOAD SETTLEMENT GRAPH FROM FIELD DATA | HZL | HZL | VER | VER | Loading Mean | Load value in Tonne | Unloading Mean | Load value in Tonne
| X | Y | X | Y | Loading |  | Unloading
| 0 | 300 | 4.18 | 0 | 0 | 0 | 3.04 | 0
| 4.18 | 300 | 4.18 | 300 | 0.47 | 40 | 3.13 | 40
[5 empty] | 0.95 | 80 | 3.23 | 80
|  |  | mm | Tonne | 1.37 | 120 | 3.4 | 120
| 15 | <15 | 4.18 | 300 | 1.84 | 160 | 3.58 | 160
|  | >15 | 0 | 0 | 2.2 | 200 | 3.77 | 200
|  | differ | -4.18 | -300 | 2.93 | 240 | 3.95 | 240
|  | unit | 1 | 71.77 | 3.43 | 280 | 4.08 | 280
|  | deduct | -15 | -1076.55 | 4.18 | 300 | 4.18 | 300
|  | result | 15 | 1076.55
|  | dia | 750 | mm
|  | safe load | 200 | tonne
|  | Test Load | 300 | tonne
|  | 2% dia | 15 | mm
| C | 12 or 18 | 18 | mm
|  | Min A,B | 15 | mm
|  | Gross | 4.18 | mm
2.06 : ANALYSIS OF TEST RESULTS |  | Net settlement | 3.04 | mm
|  | Rebound | 1.14 | mm
1) Maximum settlement observed for pile dia 750 mm is 4.18 mm for test load is 300 Tonne. |  | % Rebound | 27.27
2) 2% of pile diameter 750 mm i.e. 15 mm or 18 mm Settlement is not achieved. | A | test | 4.18 | 300
Hence considering above two criteria as per para 2.02, Maximum Settlement is 4.18 mm and Hence, Estimated Safe Load i.e. 200 Tonne. | B | interpol | 15 | 1076.55
Gross Settlement = 4.18 mm |  | Min A,B | 15 | mm
Net Settlement = 3.04 mm | C | 12 or 18 | 18 | 1291.86
Rebound = 1.14 mm |  | Min A,B | 4.18 | 300
Percent of Rebound = 27.27 %
|  |  | mm | Tonne
| 18 | <18 | 4.18 | 300
|  | >18 | 0 | 0
|  | differ | -4.18 | -300
|  | unit | 1 | 71.77
|  | deduct | -18 | -1291.86
|  | result | 18 | 1291.86

## SitePhotoGraphs
NORTHEAST RESEARCH LABORATORY &
TESTING PRIVATE LIMITED
M/N : (+91) 9577782943, EMAIL : OFFICE@NERLT.COM
Office: Room No.50, G.M.C. Market Complex, Chandmari, Guwahati-781003
Lab: House No 4, Salbari- Noonmati Road, Noonmati, Guwahati, Assam 781020
3. Site Photo Graphs